## System
CaseID | DateTime | Period | SolveStatus (1=OK) | SystemOFV | SystemCost | SystemBenefit | ViolationCost | DeficitGenViol (MW) | SurplusGenViol (MW) | DeficitReserveViol (MW) | SurplusBranchFlowViol (MW) | DeficitRampRateViol (MW) | SurplusRampRateViol (MW) | DeficitBranchGroupConstraintViol (MW) | SurplusBranchGroupConstraintViol (MW) | DeficitMNodeConstraintViol (MW) | SurplusMNodeConstraintViol (MW) | INTERVALCOST
251012025022255930 | 2025-02-26 11:55 | TP24 | 1 | 83427992.0229 | 62056.8795 | 0 | 0.56084 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 62056.8792 | 0.000201

## Island
CaseID | DateTime | Period | Island | Gen (MW) | Load (MW) | Bid Load (MW) | IslandACLoss (MW) | HVDCFlow (MW) | HVDCLoss (MW) | ReferencePrice ($/MWh) | FIR_req (MW) | SIR_req (MW) | FIR Price ($/MWh) | SIR Price ($/MWh) | FIR_Clear | SIR_Clear | FIR_Share | SIR_Share | FIR_Receive | SIR_Receive | FIR_Effective_CE | SIR_Effective_CE | FIR_Effective_ECE | SIR_Effective_ECE
251012025022255930 | 2025-02-26 11:55 | TP24 | NI | 2743.3847 | 3171.6628 | 0 | 85.1846 | 0 | 15.0795 | 81.2525 | 410.0454 | 484.685 | 765 | 40 | 259.6478 | 310.7847 | 197.6951 | 211.1701 | 187.997 | 173.9003 | 150.3976 | 173.9003 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | SI | 1838.869 | 1281.1399 | 0 | 27.687 | 528.5421 | 1.5 | 76.7056 | 358.1246 | 405 | 575.2809 | 70 | 193.2851 | 185 | 199.9965 | 185 | 206.0494 | 220 | 164.8395 | 220 | 0 | 0
|  |  |  | -0.00027 | -0.00036 | 0 | -0.00045 | 0.00015 | 0.00055 | 0 | 3e-05 | 0 | 0 | 0 | -8e-05 | -0.00026 | -0.00032 | 9e-05 | 0.00039 | 0.00026 | 0.00011 | 0.00026 | 0 | 0
CaseID | DateTime | Period | Island | ENCLEARED | LOADMW | DISPATCHBIDSCLEARED | NETWORKLOSS | NETDCXFER | HVDCLOSS | REFERENCEPRICE | RESERVEREQDSIXSEC | RESERVEREQDSIXTYSEC | RESERVEPRICESIXSEC | RESERVEPRICESIXTYSEC | RESERVEACTUALSIXSEC | RESERVEACTUALSIXTYSEC | RESSENTFROM6S | RESSENTFROM60S | RESSENTTO6S | RESSENTTO60S | RESEFFECTIVETO6SCE | RESEFFECTIVETO60SCE | RESEFFECTIVETO6SECE | RESEFFECTIVETO60SECE
251012025022255930 | 2025-02-26 11:55 | TP24 | NI | 2743.385 | 3171.663 | 0 | 85.185 | -514.963 | 15.079 | 81.2525 | 410.046 | 484.685 | 765 | 40 | 259.648 | 310.785 | 197.695 | 211.17 | 187.997 | 173.9 | 150.398 | 173.9 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | SI | 1838.869 | 1281.14 | 0 | 27.687 | 528.542 | 1.5 | 76.7056 | 358.124 | 405 | 575.2809 | 70 | 193.285 | 185 | 199.997 | 185 | 206.049 | 220 | 164.839 | 220 | 0 | 0

## OfferResults
CaseID | DateTime | Period | Offer | Trader | Generation (MW) | FIR (MW) | SIR (MW) | MWCLEARED | RESERVECLEAREDSIXSEC | RESERVECLEAREDSIXTYSEC | DiffCheck | MWCLEARED | MWSIXSEC | MWSIXTYSEC
251012025022255930 | 2025-02-26 11:55 | TP24 | ARA2201 ARA0 | MRPL | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | ARG1101 BRR0 | CNIR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | ARI1101 ARI0 | MRPL | 46 | 2 | 1 | 46 | 1 | 1 | 1 | 0 | 1 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | ARI1102 ARI0 | MRPL | 20 | 2.5 | 1.5 | 20 | 2.5 | 1.5 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | ASB0661 HBK0 | CNIR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | ATI2201 ATI0 | MRPL | 17 | 7.7344 | 3.499 | 17 | 3.003 | 3.499 | 4.7314 | 0 | 4.7314 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | AVI2201 AVI0 | MERI | 194.326 | 10.668 | 12.82 | 194.326 | 10.668 | 12.82 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | BEN2202 BEN0 | MERI | 410.557 | 19.332 | 27.18 | 410.557 | 19.332 | 27.18 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | BOB1101 | CNTP | 0 | 3.65 | 4.56 | 0 | 3.65 | 4.56 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | BPE0331 | SZRO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | BPE0331 TWF0 | CNIR | 30 | 0 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | BWK1101 WPI0 | CNIR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | COL0661 COL0 | CNIR | 20 | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | CPK0331 | VWEN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | CYD2201 CYD0 | CTCT | 90 | 78.002 | 60.8399 | 90 | 78.002 | 60.84 | 0.0001 | 0 | 0 | -0.0001
251012025022255930 | 2025-02-26 11:55 | TP24 | GLN0332 GLN0 | ALNT | 47.1 | 0 | 0 | 47.1 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | GOR0331 KWD0 | MRPL | 25.646 | 0 | 0 | 25.646 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | HAM0331 | WNET | 0 | 3.599 | 6.139 | 0 | 3.599 | 6.139 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | HLY0331 RHO0 | NPEL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | HLY0331 RHO99 | NPEL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | HLY2201 HLY1 | GENE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | HLY2201 HLY2 | GENE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | HLY2201 HLY4 | GENE | 217.685 | 0 | 0 | 217.685 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | HLY2201 HLY5 | GENE | 226.6374 | 0 | 0 | 226.637 | 0 | 0 | 0.0004 | 0.0004 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | HLY2201 HLY6 | GENE | 41 | 0 | 0 | 41 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | HRP2201 HRP0 | MERI | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | HWA1101 PTA1 | CNIR | 1.0476 | 9.9524 | 9.9524 | 1.048 | 9.952 | 9.952 | 0.0012 | -0.0004 | 0.0004 | 0.0004
251012025022255930 | 2025-02-26 11:55 | TP24 | HWA1101 PTA2 | CNIR | 1 | 9.1 | 6.0404 | 1 | 9.1 | 6.04 | 0.0004 | 0 | 0 | 0.0004
251012025022255930 | 2025-02-26 11:55 | TP24 | HWA1101 PTA3 | CNIR | 1.0316 | 9.8 | 0 | 1.032 | 9.8 | 0 | 0.0004 | -0.0004 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | HWA1102 WAA0 | TODD | 22.65 | 0 | 0 | 22.65 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | HWB0331 MAH0 | CNIR | 33.88 | 0 | 0 | 33.88 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | HWB0331 WPI0 | CNIR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | ISL0331 | ERGY | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | ISL0661 | SZRO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | JRD1101 JRD0 | TODD | 90.4 | 0 | 0 | 90.4 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | KAW0111 TAM0 | TAOM | 24 | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | KAW0112 ONU0 | CHHE | 49 | 0 | 0 | 49 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | KAW1101 KAG0 | MRPL | 105 | 0 | 0 | 105 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | KIN0112 KIN0 | CNIR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | KOE1101 KSF0 | LODE | 23.69 | 0 | 0 | 23.69 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | KOE1101 NGB0 | NGAG | 30 | 0 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | KPA1101 KPI1 | TODD | 14 | 0 | 0 | 14 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | KPO1101 KPO0 | MRPL | 44 | 0 | 1 | 44 | 0 | 1 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | KUM0661 KUM0 | CNIR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | LTN0331 TWF0 | CNIR | 30 | 0 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | LTN2201 TUR0 | MRPL | 194 | 0 | 0 | 194 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | MAN2201 MAN0 | MERI | 410 | 45 | 75 | 410 | 45 | 75 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | MAT1101 ANI0 | PUNZ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | MAT1101 MAT0 | CNIR | 20 | 13.5 | 12.7 | 20 | 13.5 | 12.7 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | MHO0331 MHO0 | KING | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | MKE1101 MKE1 | TODD | 42.7 | 0 | 0 | 42.7 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | MPE1101 | NTHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | MTI2201 MTI0 | MRPL | 146.8531 | 43 | 22 | 146.853 | 42.731 | 22 | 0.2691 | 0.0001 | 0.269 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | NAP2201 NAP0 | NAPJ | 146 | 0 | 0 | 146 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | NAP2202 NTM0 | MRPL | 63 | 0 | 0 | 63 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | NMA0331 WHL0 | MERI | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | NSY0331 PAE0 | CNIR | 3.5 | 0 | 0 | 3.5 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | OHA2201 OHA0 | MERI | 171.461 | 0 | 0 | 171.461 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | OHB2201 OHB0 | MERI | 151.459 | 0 | 0 | 151.459 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | OHC2201 OHC0 | MERI | 151.459 | 0 | 0 | 151.459 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | OHK2201 OHK0 | MRPL | 46 | 2.99 | 7 | 46 | 12.99 | 7 | 10 | 0 | -10 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | OKI2201 OKI0 | CTCT | 34 | 0 | 0 | 34 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | PEN0331 | VCTR | 0 | 0 | 13.995 | 0 | 0 | 13.995 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | PPI2201 PPI0 | CTCT | 38 | 0 | 0 | 38 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | ROT1101 WHE0 | CNIR | 5.5 | 3 | 5.995 | 5.5 | 3 | 5.995 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | ROX1101 ROX0 | CTCT | 30.001 | 4.2011 | 3.0001 | 30.001 | 4.201 | 3 | 0.0002 | 0 | 0.0001 | 0.0001
251012025022255930 | 2025-02-26 11:55 | TP24 | ROX2201 ROX0 | CTCT | 56 | 36.082 | 6.16 | 56 | 36.082 | 6.16 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | RPO2201 RPO0 | GENE | 55 | 10 | 8.9 | 55 | 10 | 8.9 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | SFD0331 | CTCT | 0 | 24.898 | 19.99 | 0 | 24.898 | 19.99 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | SFD2201 SFD21 | CTCT | 65 | 37 | 37 | 65 | 37 | 37 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | SFD2201 SFD22 | CTCT | 60 | 0 | 0 | 60 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | SFD2201 SPL0 | CTCT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | STK0661 COB0 | CNIR | 16.25 | 0 | 0 | 16.25 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | TAB2201 TAB0 | CTCT | 145 | 0 | 0 | 145 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | TGA0331 KMI0 | CNIR | 7.5 | 0 | 0 | 7.5 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | THI2201 THI1 | CTCT | 81 | 0 | 0 | 81 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | THI2201 THI2 | CTCT | 84 | 0 | 0 | 84 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | TKA0111 TKA1 | GENE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | TKB2201 TKB1 | GENE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | TKU2201 TKU0 | GENE | 94 | 13.121 | 58.161 | 94 | 13.121 | 58.161 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | TUI1101 KTW0 | GENE | 7.7 | 0 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | TUI1101 PRI0 | GENE | 13.8 | 0.003 | 0.002 | 13.8 | 0.003 | 0.002 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | TUI1101 TUI0 | GENE | 18.5 | 0.302 | 9.001 | 18.5 | 0.302 | 9.001 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | TWC2201 NZW0 | NZWF | 3.82 | 0 | 0 | 3.82 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | TWC2201 TWF0 | CNIR | 23.45 | 0 | 0 | 23.45 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | TWH0331 TUK0 | MERI | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | WDV1101 TAP0 | MERI | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | WGN0331 | ERGY | 0 | 56.5 | 75.354 | 0 | 56.5 | 75.354 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | WHI2201 WHI1 | CTCT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | WHI2201 WHI2 | CTCT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | WHI2201 WHI3 | CTCT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | WIL0331 | MERI | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | WIL0331 MCK0 | MERI | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | WKM2201 MOK0 | TUAR | 76 | 0 | 0 | 76 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | WKM2201 WKM0 | MRPL | 56 | 4 | 3 | 56 | 1 | 3 | 3 | 0 | 3 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | WPA2201 WPA0 | MRPL | 18 | 2.998 | 3.996 | 18 | 1.998 | 3.996 | 1 | 0 | 1 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | WRK0331 RKA0 | MRPL | 23 | 0 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | WRK0331 TAA0 | CTCT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | WRK2201 WRK0 | CTCT | 90 | 0 | 0 | 90 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | WTK0111 WTK0 | MERI | 74.33 | 0 | 0 | 74.33 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | WVY1101 WPP0 | GENE | 3.32 | 0 | 0 | 3.32 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | WWD1102 WWD0 | MERI | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
251012025022255930 | 2025-02-26 11:55 | TP24 | WWD1103 WWD0 | MERI | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## CLUMESSAGE
I | SOLUTION | CLUMESSAGE | 1 | CLUPROCESS | CLUAPP | CLUINSTANCE | CLUOBJECT | CLUMETHOD | CLUMESSAGE_1 | CLUEXCEPTION | CLULEVEL
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 |  | Read: ReadSPDCTRL_InfoFile | 26-02-2025 11:54:03.33¦SPDCTRL file spdctrl_info.txt has been read successfully. (CaseID=) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Read: ReadMDBCTRLFile | 26-02-2025 11:54:03.33¦MDBCTRL file MSS_251012025022255930_0X.MDBCTRL has been read. (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Read: ReadMSSNETFilesStatic | 26-02-2025 11:54:03.42¦The static MSSNET file MSS_251012025022255930_0X.MSSNET has been read. (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Read: ReadALLData | 26-02-2025 11:54:03.42¦Reading of CTRL and STATIC data files ... Ended! (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Read: ReadALLData | 26-02-2025 11:54:03.42¦SetModelFeature: Begin (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Read: ReadALLData | 26-02-2025 11:54:03.42¦SetModelFeature: End (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Read: ReadALLData | 26-02-2025 11:54:03.42¦Reading of Market data files at 26-FEB-2025 11:55 ... Started! (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Read: ReadMSSNETFiles | 26-02-2025 11:54:03.49¦The dynam. MSSNET file MSS_251012025022255930_0X_26-FEB-2025_11_55_0.MSSNET has been read for 26-FEB-2025 11:55. (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Read: ReadMarketFiles | 26-02-2025 11:54:03.50¦Read market file MSS_251012025022255930_0X.DAILY for 26-FEB-2025 11:55 (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Read: ReadMarketFiles | 26-02-2025 11:54:03.55¦Market file MSS_251012025022255930_0X.DAILY has been read for period 26-FEB-2025 11:55 (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Read: ReadMarketFiles | 26-02-2025 11:54:03.55¦Read market file MSS_251012025022255930_0X.MSSMKT for 26-FEB-2025 11:55 (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Read: ReadMarketFiles | 26-02-2025 11:54:03.61¦Market file MSS_251012025022255930_0X.MSSMKT has been read for period 26-FEB-2025 11:55 (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Read: ReadMarketFiles | 26-02-2025 11:54:03.61¦Read market file MSS_251012025022255930_0X.MSSMOD for 26-FEB-2025 11:55 (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Read: ReadMarketFiles | 26-02-2025 11:54:03.64¦Market file MSS_251012025022255930_0X.MSSMOD has been read for period 26-FEB-2025 11:55 (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Read: ReadMarketFiles | 26-02-2025 11:54:03.64¦Read market file MSS_251012025022255930_0X.PERIOD for 26-FEB-2025 11:55 (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Read: ReadMarketFiles | 26-02-2025 11:54:03.71¦Market file MSS_251012025022255930_0X.PERIOD has been read for period 26-FEB-2025 11:55 (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Read: ReadALLData | 26-02-2025 11:54:03.72¦No reading of IMM file because UseSPDSOLVEDIMM is not active for 26-FEB-2025 11:55 (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Read: ReadSPDITERFile | 26-02-2025 11:54:03.72¦No SPDITER data will be read. Initial SPD solution or no SFT execution requested for 26-FEB-2025 11:55. (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Read: ReadALLData | 26-02-2025 11:54:03.72¦Reading of Market data files for 26-FEB-2025 11:55 ... Ended! (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Read: ReadALLData | 26-02-2025 11:54:03.72¦Input Data read completed for Interval 26-FEB-2025 11:55 (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | StartUp: MainSPDRoutine | 26-02-2025 11:54:03.77¦Main SPD Routine for Interval 26-FEB-2025 11:55: Begin (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | PreProc: InputDataPostInitializationStatic | 26-02-2025 11:54:03.77¦Input Data Post Initialization Static for 26-FEB-2025 11:55: Begin (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | PreProc: InputDataPostInitializationStatic | 26-02-2025 11:54:03.77¦Pnode ATU1101 removed from RTD case for 26-FEB-2025 11:55 due to inconsistent PNODE entries in case files (CaseID=251012025022255930) | NULL | Warning
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | PreProc: InputDataPostInitializationStatic | 26-02-2025 11:54:03.77¦Pnode N/A removed from RTD case for 26-FEB-2025 11:55 due to inconsistent PNODE entries in case files (CaseID=251012025022255930) | NULL | Warning
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | PreProc: InputDataPostInitializationStatic | 26-02-2025 11:54:03.77¦Pnode TAB2201 removed from RTD case for 26-FEB-2025 11:55 due to inconsistent PNODE entries in case files (CaseID=251012025022255930) | NULL | Warning
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | PreProc: SFTSetup | 26-02-2025 11:54:03.77¦SPD first iteration for 26-FEB-2025 11:55 (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | PreProc: ExtractTraderPeriodData | 26-02-2025 11:54:03.77¦Reserve offer 41.990 zeroed on commissioning pnode HLY2201 HLY5 for 26-FEB-2025 11:55 (CaseID=251012025022255930) | NULL | Warning
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | PreProc: BuildSegmentLossModel | 26-02-2025 11:54:03.91¦BuildSegmentLossModel for 26-FEB-2025 11:55: Begin (CaseID=251012025022255930) | NULL | Fine
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | PreProc: BuildSegmentLossModel | 26-02-2025 11:54:03.96¦BuildSegmentLossModel for 26-FEB-2025 11:55: End (CaseID=251012025022255930) | NULL | Fine
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | PreProc: InitTraderBlockData | 26-02-2025 11:54:03.97¦Initializing TraderBlock Data for 26-FEB-2025 11:55 (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | PreProc: CalcCoefficientForRampRate | 26-02-2025 11:54:03.97¦CalcCoefficientForRampRate for 26-FEB-2025 11:55: Begin (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | PreProc: CalcCoefficientForRampRate | 26-02-2025 11:54:03.97¦CalcCoefficientForRampRate for 26-FEB-2025 11:55: End (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Solve: SPDSolvePeriod | 26-02-2025 11:54:03.97¦SPDSolvePeriod for 26-FEB-2025 11:55: Begin (CaseID=251012025022255930) | NULL | Fine
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Solve: SPDSolvePeriod | 26-02-2025 11:54:03.97¦****Solve Loop 1 (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Solve: ResetSolution | 26-02-2025 11:54:03.97¦Reset Solution for 26-FEB-2025 11:55 (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | PreProc: ReservePreProcessing | 26-02-2025 11:54:03.99¦Reserve Pre-processing for 26-FEB-2025 11:55 (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Solve: SPDSolvePeriod | 26-02-2025 11:54:03.99¦Main solve for 26-FEB-2025 11:55: Begin (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Solve: SPDSolvePeriod | 26-02-2025 11:54:06.12¦Main solve for 26-FEB-2025 11:55: End (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Solve: SPDSolvePeriod | 26-02-2025 11:54:06.12¦Objective function value = -83430610.602 for 26-FEB-2025 11:55 (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Solve: SPDSolvePeriod | 26-02-2025 11:54:06.17¦Updating RTD load calc losses for NI from 100.069 to 100.274 26-FEB-2025 11:55 (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Solve: SPDSolvePeriod | 26-02-2025 11:54:06.17¦Updating RTD load calc losses for SI from 29.249 to 29.184 26-FEB-2025 11:55 (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Solve: SPDSolvePeriod | 26-02-2025 11:54:06.17¦****Solve Loop 2 (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Solve: ResetSolution | 26-02-2025 11:54:06.17¦Reset Solution for 26-FEB-2025 11:55 (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | PreProc: ReservePreProcessing | 26-02-2025 11:54:06.18¦Reserve Pre-processing for 26-FEB-2025 11:55 (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Solve: SPDSolvePeriod | 26-02-2025 11:54:06.18¦Main solve for 26-FEB-2025 11:55: Begin (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Solve: SPDSolvePeriod | 26-02-2025 11:54:08.38¦Main solve for 26-FEB-2025 11:55: End (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Solve: SPDSolvePeriod | 26-02-2025 11:54:08.38¦Objective function value = -83427991.981 for 26-FEB-2025 11:55 (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Solve: SPDSolvePeriod | 26-02-2025 11:54:08.41¦Solve loops completed after 2 (max is 10) for 26-FEB-2025 11:55 (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Solve: SPDSolvePeriod | 26-02-2025 11:54:08.41¦Completed Execution for 26-FEB-2025 11:55 (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Solve: MainSPDRoutine | 26-02-2025 11:54:08.41¦SPDSolvePeriod: End for 26-FEB-2025 11:55 (CaseID=251012025022255930) | NULL | Fine
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | Exit: MainSPDRoutine | 26-02-2025 11:54:08.43¦Main SPD Routine for Interval 26-FEB-2025 11:55: End (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | PostProc: PostProcessing | 26-02-2025 11:54:08.44¦PostProcessing for Interval 26-FEB-2025 11:55: Begin (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | PostProc: ReportNonPhysicalLoss | 26-02-2025 11:54:08.46¦No circulating flows or segment skipping 26-FEB-2025 11:55 (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | PostProc: ScarcityEnergyLogging | 26-02-2025 11:54:08.46¦Energy shortfall final pnode count 0 for NI and 0 for SI for 26-FEB-2025 11:55 (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | PostProc: CalculateLMPResults | 26-02-2025 11:54:08.51¦Price transfer for dead pnodes is not enabled 26-FEB-2025 11:55 (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | PostProc: ReportBranchAbnormality | 26-02-2025 11:54:08.54¦Status of Circulating Hvdc Flows: Normal at 26-FEB-2025 11:55 (CaseID=251012025022255930) | NULL | Info
D | SOLUTION | CLUMESSAGE | 1 | SPD | SPD | SDCMKT-DVCSLV31 | 2.5101e+17 | PostProc: ReportBranchAbnormality | 26-02-2025 11:54:08.54¦Status of Circulating Branch Flows: Normal at 26-FEB-2025 11:55 (CaseID=251012025022255930) | NULL | Info

## ISLAND SOLVED
I | SOLUTION | ISLAND | 1 | INTERVAL | ISLANDNAME | RISKFACTORSIXSEC | RISKFACTORSIXTYSEC | RISKFACTORSIXSECECE | RISKFACTORSIXTYSECECE | RESERVEREQDSIXSEC | RESERVEREQDSIXTYSEC | RESERVEREQDSIXSECECE | RESERVEREQDSIXTYSECECE | RESERVEACTUALSIXSEC | RESERVEACTUALSIXTYSEC | REFERENCEPRICE | RESERVEPRICESIXSEC | RESERVEPRICESIXTYSEC | RESERVEDEFICITSIXSECCE | RESERVEDEFICITSIXTYSECCE | RESERVEDEFICITSIXSECECE | RESERVEDEFICITSIXTYSECECE | RISKMWSIXSEC | RISKNODESIXSEC | RISKMWSIXTYSEC | RISKNODESIXTYSEC | DCCERISKOFFSETSIXSEC | DCCERISKOFFSETSIXTYSEC | DCECERISKOFFSETSIXSEC | DCECERISKOFFSETSIXTYSEC | MANUALRISKOFFSETSIXSEC | MANUALRISKOFFSETSIXTYSEC | GENRISKOFFSETSIXSEC | GENRISKOFFSETSIXTYSEC | ACECERISKOFFSETSIXSEC | ACECERISKOFFSETSIXTYSEC | PSD | INITIALIPS | SOLVEDIPS | ENOFFERED | ENCLEARED | LOADMW | RESIDUAL | MAXNODALPRICE | MINNODALPRICE | MARKETPRICESEP | CONSTRPRICESEP | MAXOFFPRICE | MAXTOOFFPRICERATIO | MAXTOREFPRICERATIO | INTERVALCOST | ZEROPRICEDGEN | NETWORKLOSS | NETDCXFER | RESRVOFF6S | RESRVOFF60S | RESRVAVAIL6S | RESRVAVAIL60S | HVDCRISKSUBTRCT | RISK6SSTATN | RISK60SSTATN | NFR6ACCE | NFR60ACCE | NFR6ACECE | NFR60ACECE | NFR6CE | NFR60CE | NFR6ECE | NFR60ECE | NUMBEROFELECTISL | RAMPUP | DIFFBIDSPOSCLEARED | DIFFBIDSNEGCLEARED | HVDCSECRISKENABLEDACCE | HVDCSECRISKENABLEDACECE | HVDCSECRISKSUBTRACTOR | DISPATCHBIDSBID | DISPATCHBIDSCLEARED | HVDCBIPOLEMAX | ISRECEIVINGISLAND | SHAREDNFRLOAD | SHAREDNFRMAX | SHAREDNFRLOADOFFSET | SHAREDNFRFROM | SHAREDNFRTO | RESSENTFROM6S | RESSENTTO6S | RESLIMITTO6S | RESBINDINGCONSTRAINTTO6S | RESRECEIVEDAT6S | RESEFFECTIVETO6SCE | RESEFFECTIVETO6SECE | RESSENTFROM60S | RESSENTTO60S | RESLIMITTO60S | RESBINDINGCONSTRAINTTO60S | RESRECEIVEDAT60S | RESEFFECTIVETO60SCE | RESEFFECTIVETO60SECE | ENSHORTFALL | LOADCALCLOSSES | PSDSOURCE | DNGCLEARED | DISPATCHBIDSLIMIT | DNLBIDSLIMIT | DNGRESIDUAL | NONDNGRESIDUAL | DNLRESIDUAL | DDRESIDUAL | HVDCRESIDUAL | COMMRISKMWCE | COMMRISKMWECE
D | SOLUTION | ISLAND | 1 | 2025-02-26 11:55 | NI | 1 | 1 | 1 | 1 | 202.36 | 277 | 0 | 0 | 259.648 | 310.785 | 81.2525 | 765 | 40 | 0 | 0 | 0 | 0 | 217.685 | GEN_CE | 217.685 | GEN_CE | 443.941 | 373 | 394.761 | 485.666 | -202.36 | -277 | -202.36 | -277 | 157.881 | 129.333 | 0 | 3271.937 | 3271.927 | 3810.38 | 2743.385 | 3171.663 | 746.011 | 95.976 | 80.751 | 15.225 | 0 | 90.05 | 1.0658 | 1.181 | 62056.8792 | 877 | 100.264 | -514.963 | 323.779 | 499.21 | 270.427 | 439.649 | 650 | HLY4CE(10.00SR);SRCE[HLY4;HLY5;TUR0];SRECE[HLY4;HLY5;TUR0] | HLY4CE(10.00SR);SRCE[HLY4;HLY5;TUR0];SRECE[HLY4;HLY5;TUR0] | -195.649 | -277 | 164.592 | 129.333 | -206.059 | -277 | 394.761 | 485.666 | 1 | 650 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 850 | 1 | 3071.663 | 30.717 | 100 | 30.717 | 6.711 | 197.695 | 199.997 | 220 | None | 187.997 | 150.398 | 0 | 211.17 | 185 | 220 | None | 173.9 | 173.9 | 0 | 0 | 100.2742 | AUTO | 0 | 0 | 0 | 0 | 746.011 | 0 | 0 | 109.446 | 267 | 267
D | SOLUTION | ISLAND | 1 | 2025-02-26 11:55 | SI | 1 | 1 | 1 | 1 | 358.125 | 405 | 30.717 | 157.165 | 193.285 | 185 | 76.7056 | 575.2809 | 70 | 0 | 0 | 0 | 0 | 193.285 | MANUAL_CE;OTHISL_CE | 185 | MANUAL_CE;OTHISL_CE | 618.597 | 618.597 | 0 | 0 | -230.125 | -277 | -230.125 | -277 | 353.283 | 226.835 | -17.557 | 1327.881 | 1310.327 | 2946.027 | 1838.869 | 1281.14 | 891.074 | 82.774 | 76.268 | 6.506 | 0 | 90.05 | 0.9192 | 1.079 | 62056.8792 | 28.5 | 29.187 | 528.542 | 214.005 | 372.005 | 193.285 | 352.165 | 618.597 | Manual[SIACCEMinRiskMW]CE;OtherIslandCE | Manual[SIACCEMinRiskMW]CE;OtherIslandCE | -199.408 | -277 | 384 | 226.835 | 0 | 0 | 0 | 0 | 1 | 618.597 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1200 | 0 | 671.14 | 6.711 | 610 | 6.711 | 30.717 | 199.997 | 197.695 | 220 | None | 206.049 | 164.839 | 0 | 185 | 211.17 | 220 | ControlBand | 220 | 220 | 0 | 0 | 29.1841 | AUTO | 0 | 0 | 0 | 0 | 891.074 | 0 | 0 | 683.542 | 0 | 0

## TRADERPERIOD SOLVED
I | SOLUTION | TRADERPERIOD | 1 | INTERVAL | TRADERID | TRADETYPE | PNODENAME | MWCLEARED | RESERVECLEAREDSIXSEC | RESERVECLEAREDSIXTYSEC | UPRAMPRATE | UPRAMPRATEBROKENMW | DNRAMPRATE | DNRAMPRATEBROKENMW | GENRISKSIXSEC | GENRISKSIXTYSEC | TRADERBLOCKALTKEY | UPRAMPRATEBINDING | DNRAMPRATEBINDING | PRICECLEARED | DIFFBIDSPOSCLEARED | DIFFBIDSNEGCLEARED | IGPOTENTIALMW | DISPATCHABLE | DDBIDSLIMIT
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38486 | ENOF | ARA2201 ARA0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879914041 | 0 | 0 | 0.49 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38486 | PLRO | ARA2201 ARA0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879920899 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38486 | TWRO | ARA2201 ARA0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879920900 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 4089922724 | ENOF | ARG1101 BRR0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879684028 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38486 | ENOF | ARI1101 ARI0 | 46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879914043 | 0 | 0 | 0.49 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38486 | PLRO | ARI1101 ARI0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 5879920903 | 0 | 0 | 0.01 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38486 | TWRO | ARI1101 ARI0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879920904 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38486 | ENOF | ARI1102 ARI0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879914071 | 0 | 0 | 0.49 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38486 | PLRO | ARI1102 ARI0 | 0 | 2.5 | 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 5879920931 | 0 | 0 | 765 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38486 | TWRO | ARI1102 ARI0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879920932 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 4089922724 | ENOF | ASB0661 HBK0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5869547353 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38486 | ENOF | ATI2201 ATI0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879914045 | 0 | 0 | 0.49 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38486 | PLRO | ATI2201 ATI0 | 0 | 3.003 | 3.499 | 0 | 0 | 0 | 0 | 0 | 0 | 5879920907 | 0 | 0 | 11 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38486 | TWRO | ATI2201 ATI0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879920908 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38481 | ENOF | AVI2201 AVI0 | 194.326 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879971579 | 0 | 0 | 0.03 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38481 | PLRO | AVI2201 AVI0 | 0 | 10.668 | 12.82 | 0 | 0 | 0 | 0 | 0 | 0 | 5879970129 | 0 | 0 | 0.01 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38481 | TWRO | AVI2201 AVI0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879970130 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38481 | ENOF | BEN2202 BEN0 | 410.557 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879971589 | 0 | 0 | 0.03 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38481 | PLRO | BEN2202 BEN0 | 0 | 19.332 | 27.18 | 0 | 0 | 0 | 0 | 0 | 0 | 5879970149 | 0 | 0 | 0.01 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38481 | TWRO | BEN2202 BEN0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879970150 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38428 | ILRO | BOB1101 | 0 | 3.65 | 4.56 | 0 | 0 | 0 | 0 | 0 | 0 | 5868060654 | 0 | 0 | 0.001 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 4468986571 | ILRO | BPE0331 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5864418121 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 4089922724 | ENOF | BPE0331 TWF0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5880084009 | 0 | 0 | 0.01 | 0 | 0 | 30 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 4089922724 | ENOF | BWK1101 WPI0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878951817 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 4089922724 | ENOF | COL0661 COL0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879738644 | 0 | 0 | 0.001 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38555 | ILRO | CPK0331 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5874157269 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | ENOF | CYD2201 CYD0 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879914047 | 0 | 0 | 0.01 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | PLRO | CYD2201 CYD0 | 0 | 20.001 | 20.001 | 0 | 0 | 0 | 0 | 0 | 0 | 5879916393 | 0 | 0 | 51 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | TWRO | CYD2201 CYD0 | 0 | 58.001 | 40.839 | 0 | 0 | 0 | 0 | 0 | 0 | 5879916394 | 0 | 0 | 200 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38412 | ENOF | GLN0332 GLN0 | 47.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878659768 | 1 | 0 | 0.001 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38486 | ENOF | GOR0331 KWD0 | 25.646 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5880084019 | 0 | 0 | 1.6 | 0 | 0 | 25.646 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38564 | ILRO | HAM0331 | 0 | 3.599 | 6.139 | 0 | 0 | 0 | 0 | 0 | 0 | 5879970746 | 0 | 0 | 0.5 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 5034627992 | ENOF | HLY0331 RHO0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5880023925 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 5034627992 | PLRO | HLY0331 RHO0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5876494283 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 5034627992 | TWRO | HLY0331 RHO0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5876494284 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 5034627992 | ENDL | HLY0331 RHO99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5880023771 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 5034627992 | ILRO | HLY0331 RHO99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5876494287 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | ENOF | HLY2201 HLY1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878073500 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | PLRO | HLY2201 HLY1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878075268 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | TWRO | HLY2201 HLY1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878075269 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | ENOF | HLY2201 HLY2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5874464076 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | PLRO | HLY2201 HLY2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5876564193 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | TWRO | HLY2201 HLY2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5876564194 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | ENOF | HLY2201 HLY4 | 217.685 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 5879971109 | 0 | 1 | 195.04 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | PLRO | HLY2201 HLY4 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 5879971671 | 0 | 1 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | TWRO | HLY2201 HLY4 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 5879971672 | 0 | 1 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | ENOF | HLY2201 HLY5 | 226.637 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879841545 | 0 | 0 | 90.05 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | PLRO | HLY2201 HLY5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879841177 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | TWRO | HLY2201 HLY5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879841178 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | ENOF | HLY2201 HLY6 | 41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878411557 | 0 | 0 | 0.01 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38481 | ENOF | HRP2201 HRP0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5880081633 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 4089922724 | ENOF | HWA1101 PTA1 | 1.048 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878949217 | 0 | 0 | 425 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 4089922724 | PLRO | HWA1101 PTA1 | 0 | 9.952 | 9.952 | 0 | 0 | 0 | 0 | 0 | 0 | 5878330363 | 0 | 0 | 20 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 4089922724 | TWRO | HWA1101 PTA1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878330364 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 4089922724 | ENOF | HWA1101 PTA2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878949219 | 0 | 0 | 463 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 4089922724 | PLRO | HWA1101 PTA2 | 0 | 9.1 | 6.04 | 0 | 0 | 0 | 0 | 0 | 0 | 5878330367 | 0 | 0 | 40 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 4089922724 | TWRO | HWA1101 PTA2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878330368 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 4089922724 | ENOF | HWA1101 PTA3 | 1.032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878949221 | 0 | 0 | 501 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 4089922724 | PLRO | HWA1101 PTA3 | 0 | 9.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878330371 | 0 | 0 | 50 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 4089922724 | TWRO | HWA1101 PTA3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878330372 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38539 | ENOF | HWA1102 WAA0 | 22.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5874159781 | 1 | 0 | 0.001 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 4089922724 | ENOF | HWB0331 MAH0 | 33.88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5880084015 | 0 | 0 | 0.01 | 0 | 0 | 33.88 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 4089922724 | ENOF | HWB0331 WPI0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878953205 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38454 | ILRO | ISL0331 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5874157271 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 4468986571 | ILRO | ISL0661 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5864418125 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38539 | ENOF | JRD1101 JRD0 | 90.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878092182 | 0 | 0 | 0.02 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 2627933195 | ENOF | KAW0111 TAM0 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5874159799 | 0 | 0 | 0.001 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38425 | ENOF | KAW0112 ONU0 | 49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5877627083 | 0 | 0 | 0.001 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38486 | ENOF | KAW1101 KAG0 | 105 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879647046 | 0 | 0 | 0.001 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 4089922724 | ENOF | KIN0112 KIN0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5876658153 | 1 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 5012239034 | ENOF | KOE1101 KSF0 | 23.69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5880083309 | 0 | 0 | 0.01 | 0 | 0 | 23.69 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 3663284062 | ENOF | KOE1101 NGB0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5865672388 | 0 | 0 | 0.01 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38539 | ENOF | KPA1101 KPI1 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5874159783 | 0 | 0 | 0.01 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38486 | ENOF | KPO1101 KPO0 | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879914049 | 0 | 0 | 0.49 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38486 | PLRO | KPO1101 KPO0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 5879920911 | 0 | 0 | 11 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38486 | TWRO | KPO1101 KPO0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879920912 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 4089922724 | ENOF | KUM0661 KUM0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878956493 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 4089922724 | ENOF | LTN0331 TWF0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5880084011 | 0 | 0 | 0.01 | 0 | 0 | 30 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38486 | ENOF | LTN2201 TUR0 | 194 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5880084017 | 0 | 0 | 0.01 | 0 | 0 | 194 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38481 | ENOF | MAN2201 MAN0 | 410 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5877429299 | 0 | 0 | 0.02 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38481 | PLRO | MAN2201 MAN0 | 0 | 45 | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 5877430907 | 0 | 0 | 0.001 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38481 | TWRO | MAN2201 MAN0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5877430908 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38517 | ENOF | MAT1101 ANI0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5865631084 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 4089922724 | ENOF | MAT1101 MAT0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878933367 | 0 | 0 | 0.001 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 4089922724 | PLRO | MAT1101 MAT0 | 0 | 13.5 | 12.7 | 0 | 0 | 0 | 0 | 0 | 0 | 5878984203 | 0 | 0 | 2.5 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 4089922724 | TWRO | MAT1101 MAT0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878984204 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38470 | ENOF | MHO0331 MHO0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879694581 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38470 | PLRO | MHO0331 MHO0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5874164295 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38470 | TWRO | MHO0331 MHO0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5874164296 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38539 | ENOF | MKE1101 MKE1 | 42.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878091750 | 0 | 0 | 0.01 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38493 | ILRO | MPE1101 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5874157273 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38486 | ENOF | MTI2201 MTI0 | 146.853 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879914051 | 0 | 0 | 191 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38486 | PLRO | MTI2201 MTI0 | 0 | 42.731 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 5879920915 | 0 | 0 | 765 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38486 | TWRO | MTI2201 MTI0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879920916 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 173763612 | ENOF | NAP2201 NAP0 | 146 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879718799 | 0 | 0 | 0.01 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38486 | ENOF | NAP2202 NTM0 | 63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878383674 | 0 | 0 | 0.01 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38481 | ENOF | NMA0331 WHL0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5880081623 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 4089922724 | ENOF | NSY0331 PAE0 | 3.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878954791 | 0 | 0 | 0.001 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38481 | ENOF | OHA2201 OHA0 | 171.461 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879971581 | 0 | 0 | 0.03 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38481 | PLRO | OHA2201 OHA0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879970133 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38481 | TWRO | OHA2201 OHA0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879970134 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38481 | ENOF | OHB2201 OHB0 | 151.459 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879971583 | 0 | 0 | 0.03 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38481 | PLRO | OHB2201 OHB0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879970137 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38481 | TWRO | OHB2201 OHB0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879970138 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38481 | ENOF | OHC2201 OHC0 | 151.459 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879971585 | 0 | 0 | 0.03 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38481 | PLRO | OHC2201 OHC0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879970141 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38481 | TWRO | OHC2201 OHC0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879970142 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38486 | ENOF | OHK2201 OHK0 | 46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879914055 | 0 | 0 | 0.49 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38486 | PLRO | OHK2201 OHK0 | 0 | 12.99 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 5879920919 | 0 | 0 | 765 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38486 | TWRO | OHK2201 OHK0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879920920 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | ENOF | OKI2201 OKI0 | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878602782 | 0 | 0 | 0.001 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38552 | ILRO | PEN0331 | 0 | 0 | 13.995 | 0 | 0 | 0 | 0 | 0 | 0 | 5874157275 | 0 | 0 | 0.01 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | ENOF | PPI2201 PPI0 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878602784 | 0 | 0 | 0.001 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 4089922724 | ENOF | ROT1101 WHE0 | 5.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878951819 | 0 | 0 | 0.001 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 4089922724 | PLRO | ROT1101 WHE0 | 0 | 3 | 5.995 | 0 | 0 | 0 | 0 | 0 | 0 | 5878230760 | 0 | 0 | 1.98 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 4089922724 | TWRO | ROT1101 WHE0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878230761 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | ENOF | ROX1101 ROX0 | 30.001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879914057 | 0 | 0 | 0.02 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | PLRO | ROX1101 ROX0 | 0 | 4.201 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 5879916397 | 0 | 0 | 210 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | TWRO | ROX1101 ROX0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879916398 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | ENOF | ROX2201 ROX0 | 56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879914059 | 0 | 0 | 0.02 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | PLRO | ROX2201 ROX0 | 0 | 10.081 | 6.16 | 0 | 0 | 0 | 0 | 0 | 0 | 5879916401 | 0 | 0 | 201 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | TWRO | ROX2201 ROX0 | 0 | 26.001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879916402 | 0 | 0 | 199 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | ENOF | RPO2201 RPO0 | 55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879318538 | 0 | 0 | 0.001 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | PLRO | RPO2201 RPO0 | 0 | 10 | 8.9 | 0 | 0 | 0 | 0 | 0 | 0 | 5879318732 | 0 | 0 | 0.01 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | TWRO | RPO2201 RPO0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879318733 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | ILRO | SFD0331 | 0 | 24.898 | 19.99 | 0 | 0 | 0 | 0 | 0 | 0 | 5880060050 | 0 | 0 | 0.11 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | ENOF | SFD2201 SFD21 | 65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879905262 | 0 | 0 | 0.03 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | PLRO | SFD2201 SFD21 | 0 | 37 | 37 | 0 | 0 | 0 | 0 | 0 | 0 | 5879396340 | 0 | 0 | 25 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | TWRO | SFD2201 SFD21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879396341 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | ENOF | SFD2201 SFD22 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879364584 | 0 | 0 | 0.02 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | PLRO | SFD2201 SFD22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879396336 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | TWRO | SFD2201 SFD22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879396337 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | ENOF | SFD2201 SPL0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5874902449 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | PLRO | SFD2201 SPL0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879396332 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | TWRO | SFD2201 SPL0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879396333 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 4468986571 | ENDL | STK0331 SZR0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5864418393 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 4089922724 | ENOF | STK0661 COB0 | 16.25 | 0 | 0 | 0 | 0 | 7.5 | 0 | 0 | 0 | 5878956495 | 0 | 1 | 307.64 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | ENOF | TAB2201 TAB0 | 145 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878602794 | 0 | 0 | 0.001 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 4468986571 | ENDL | TAK0331 SZR0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5864418391 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 4089922724 | ENOF | TGA0331 KMI0 | 7.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879898593 | 0 | 0 | 0.001 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | ENOF | THI2201 THI1 | 81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878602792 | 0 | 0 | 0.001 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | ENOF | THI2201 THI2 | 84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878602790 | 0 | 0 | 0.001 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | ENOF | TKA0111 TKA1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5874464094 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | PLRO | TKA0111 TKA1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5876564225 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | TWRO | TKA0111 TKA1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5876564226 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | ENOF | TKB2201 TKB1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5874464096 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | PLRO | TKB2201 TKB1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5876564229 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | TWRO | TKB2201 TKB1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5876564230 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | ENOF | TKU2201 TKU0 | 94 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879668287 | 0 | 0 | 0.01 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | PLRO | TKU2201 TKU0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879770340 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | TWRO | TKU2201 TKU0 | 0 | 13.121 | 58.161 | 0 | 0 | 0 | 0 | 0 | 0 | 5879770341 | 0 | 0 | 8.06 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | ENOF | TUI1101 KTW0 | 7.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878468890 | 0 | 0 | 0.001 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | PLRO | TUI1101 KTW0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878466869 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | TWRO | TUI1101 KTW0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878466870 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | ENOF | TUI1101 PRI0 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878468892 | 0 | 0 | 0.001 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | PLRO | TUI1101 PRI0 | 0 | 0.003 | 0.002 | 0 | 0 | 0 | 0 | 0 | 0 | 5878466873 | 0 | 0 | 150.07 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | TWRO | TUI1101 PRI0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878466874 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | ENOF | TUI1101 TUI0 | 18.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878468894 | 0 | 0 | 0.001 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | PLRO | TUI1101 TUI0 | 0 | 0.302 | 9.001 | 0 | 0 | 0 | 0 | 0 | 0 | 5878466877 | 0 | 0 | 150.07 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | TWRO | TUI1101 TUI0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878466878 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38500 | ENOF | TWC2201 NZW0 | 3.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5880067019 | 0 | 0 | 0.01 | 0 | 0 | 3.82 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 4089922724 | ENOF | TWC2201 TWF0 | 23.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5880084013 | 0 | 0 | 0.01 | 0 | 0 | 23.45 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38481 | ENOF | TWH0331 TUK0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5880081629 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38481 | ENOF | WDV1101 TAP0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5880081625 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38454 | ILRO | WGN0331 | 0 | 56.5 | 75.354 | 0 | 0 | 0 | 0 | 0 | 0 | 5879925672 | 0 | 0 | 5.98 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | ENOF | WHI2201 WHI1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5875913565 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | PLRO | WHI2201 WHI1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879396352 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | TWRO | WHI2201 WHI1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879396353 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | ENOF | WHI2201 WHI2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5864452812 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | PLRO | WHI2201 WHI2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879396344 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | TWRO | WHI2201 WHI2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879396345 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | ENOF | WHI2201 WHI3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5875679701 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | PLRO | WHI2201 WHI3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879396348 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | TWRO | WHI2201 WHI3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879396349 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38481 | ILRO | WIL0331 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5864394322 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38481 | ENOF | WIL0331 MCK0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5880081631 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38547 | ENOF | WKM2201 MOK0 | 76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5880025307 | 0 | 0 | 0.001 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38486 | ENOF | WKM2201 WKM0 | 56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879914063 | 0 | 0 | 0.49 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38486 | PLRO | WKM2201 WKM0 | 0 | 1 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 5879920923 | 0 | 0 | 11 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38486 | TWRO | WKM2201 WKM0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879920924 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38486 | ENOF | WPA2201 WPA0 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879914065 | 0 | 0 | 0.49 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38486 | PLRO | WPA2201 WPA0 | 0 | 1.998 | 3.996 | 0 | 0 | 0 | 0 | 0 | 0 | 5879920927 | 0 | 0 | 11 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38486 | TWRO | WPA2201 WPA0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879920928 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38486 | ENOF | WRK0331 RKA0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879698951 | 0 | 0 | 0.001 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | ENOF | WRK0331 TAA0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878602788 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38433 | ENOF | WRK2201 WRK0 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5878602786 | 0 | 0 | 0.001 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38481 | ENOF | WTK0111 WTK0 | 74.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879971587 | 0 | 0 | 0.01 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38481 | PLRO | WTK0111 WTK0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879970145 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38481 | TWRO | WTK0111 WTK0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5879970146 | 0 | 0 | 0 | 0 | 0 | 9999 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38459 | ENOF | WVY1101 WPP0 | 3.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5880067027 | 0 | 0 | 0.01 | 0 | 0 | 3.32 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38481 | ENOF | WWD1102 WWD0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5880081621 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
D | SOLUTION | TRADERPERIOD | 1 | 2025-02-26 11:55 | 38481 | ENOF | WWD1103 WWD0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5880081627 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0